## hardware
|  | Summary from below |  | 0 | 5500.73 | 0 | 62 | 1612 |  | Mat MU = | 1
Tag | QTY | Electrical Hardware & Air Tubing by CSC | Tag | cost | sell | MH Ea | Unit MH | Labor Sell | Labor Calc | 1st cl | 2nd cl | 3rd cl | helper | foreman
OLS | 2 | Remote OL Reset A-B 193-ER1D, 115V solenoids |  | 35 | 70 | 0.5 | 1 | 26 | 26 | 26.05 | 24.1 | 21.02 | 17.85 | 30.3
MS | 1 | Contactors A-B 100-C09D10, 115V coil |  | 53.81 | 53.81 | 1 | 1 | 26
MS | 1 | Rev Contactor A-B 104-C09D22, !15V coil |  | 151.92 | 151.92 | 1 | 1 | 26
OL | 2 | Overloads for above A-B 193-EA1EB |  | 38 | 76 | 0.5 | 1 | 26
CPT | 2 | XFMR Acme TA281215 460/115 |  | 100 | 200 | 1 | 2 | 52
HS | 2 | HOA 2 Pos Sw: A-B 800H-HP2KB6AXXX NEMA 7/9 |  | 97.65 | 195.3 | 1 | 2 | 52
HS | 2 | HOA 3 Pos Sw: A-B 800H-JP2KB7AXXX NEMA 7/9 |  | 82.38 | 164.76 | 1 | 2 | 52
HS | 2 | For-O-Jog Rev 3 Pos, SRRt, A-B 800H-JP5KB7AXXX |  | 118.23 | 236.46 | 1 | 2 | 52
PB | 2 | E-Stop PB: A-B 800H-FPX6D4 NEMA 7/9 |  | 186.82 | 373.64 | 1 | 2 | 52
| 1 | Single hole Covers A-B 800H-NP30 NEMA 7/9 |  | 30.59 | 30.59 | 1 | 1 | 26
| 2 | Double Hole Covers A-B 800H-NP31NEMA 7/9 |  | 40.76 | 81.52 | 1 | 2 | 52
| 1 | Single Base A-B 800H--1HVX7M2 NEMA 7/9 |  | 58.59 | 58.59 | 1 | 1 | 26
| 1 | 2 Gang Base A-B 800H--1HHX7 NEMA 7/9 |  | 135.02 | 135.02 | 1 | 1 | 26
PB | 2 | Reset PB: A-B 800T-A6D1 |  | 26 | 52 | 1 | 2 | 52
OL | 2 | OL Ind: A-B 800T-QH10A LED |  | 53.64 | 107.28 | 1 | 2 | 52
OL | 2 | Run Ind: A-B 800T-QH10R LED |  | 53.64 | 107.28 | 1 | 2 | 52
CR | 6 | Relays: A-B 700-HA321A1 |  | 35 | 210 | 0.1 | 0.6 | 15.6
A | 1 | Federal 31X-120-3 NEMA 7/9 horn |  | 463 | 463 | 2 | 2 | 52
| 2 | Enclosure A24H2408SSLP 304 St. Steel |  | 580 | 1160 | 2 | 4 | 104
| 2 | Mtg Plate 24X24 |  | 25 | 50 | 1 | 2 | 52
F | 6 | Gould Fuse Holders |  | 10 | 60 | 1 | 6 | 156
F | 2 | Gould Fuses ATMR6, 6 amp |  | 10 | 20 | 1 | 2 | 52
F | 4 | Gould Fuses ATMR2, 2 amp |  | 10 | 40 | 1 | 4 | 104
| 50 | Terminals: WDU4 |  | 4 | 200 | 0.1 | 5 | 130
| 12 | Ft 2X2 Panduit |  | 2 | 24 | 0.2 | 2.4 | 62.4
| 1 | Lot Nameplates and wire |  | 100 | 100 | 2 | 2 | 52
| 2 | CB Operating Mechanism A-B 198H2 |  | 82.29 | 164.58 | 0.5 | 1 | 26
| 2 | CB Operating Shaft A-B 194 RR3 |  | 11.39 | 22.78 | 0.5 | 1 | 26
| 2 | CB Operating Handle (NEMA4 A-B 190HM4 |  | 48.11 | 96.22 | 2 | 4 | 104
| 2 | CB Unit 30 AMPCutler Hammer FDB 3030L |  | 377.99 | 755.98 | 0.5 | 1 | 26
| 2 | UL Panel Listings |  | 20 | 40 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
|  | Timers are not included |  |  | 0 |  | 0 | 0
Heaters for panels are not included
|  | Totals |  |  | 5500.73 |  | 62 | 1612
[6 empty] | MH Ea | Unit MH | Labor Sell
|  | Motors to connect | HP
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
|  | Totals |  |  | 0 |  | 0 | 0
|  | Starters to wire |  |  |  | MH Ea | Unit MH | Labor Sell
[7 empty] | 0 | 0
[7 empty] | 0 | 0
[7 empty] | 0 | 0
[7 empty] | 0 | 0
[7 empty] | 0 | 0
[7 empty] | 0 | 0
[7 empty] | 0 | 0
[7 empty] | 0 | 0
[7 empty] | 0 | 0
[7 empty] | 0 | 0
[7 empty] | 0 | 0
[7 empty] | 0 | 0
[7 empty] | 0 | 0
[7 empty] | 0 | 0
[7 empty] | 0 | 0
[7 empty] | 0 | 0
[7 empty] | 0 | 0
[7 empty] | 0 | 0
[7 empty] | 0 | 0
[7 empty] | 0 | 0
[7 empty] | 0 | 0
[7 empty] | 0 | 0
[7 empty] | 0 | 0
[7 empty] | 0 | 0
[7 empty] | 0 | 0
|  | Totals |  |  | 0 |  | 0 | 0
|  | Instruments |  |  |  | MH Ea | Unit MH | Labor Sell
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
|  | Totals |  |  | 0 |  | 0 | 0

## summary
Jim Myers & Sons
Lynn, MA Control Panels
[6 empty] | Material | 6490.8614
[6 empty] | Labor, rentals & tools | 3376.8931
| Men | Fore | Duration in weeks |  | Total Proposal |  | 9867.7545
Job duration based on 40 hrs/ wk | 1 | 0 | 1.65
Checkout 2 weeks | 0 |  | 0
|  |  | Material | Overhd | MH | Labor sell
UL Panel certification |  |  |  |  | 3 | 105
Proposal |  |  |  |  | 4 | 140
Submittals |  |  |  |  | 6 | 210
Drawings |  |  |  |  | 12 | 420
Design |  |  |  |  | 12 | 420
Hardware summary |  |  | 5500.73 |  | 62 | 1612
Subtotal |  |  | 5500.73 |  | 99 | 2907 | 8407.73
Material Markup |  | 18% | 990.1314 |  | 0 | 0
Subtotal proposal price |  |  | 6490.8614 |  | 99 | 2907 | 9397.8614
trucks / tools | [6 empty] | 0
Storage & Equip Rentals | [6 empty] | 0
Travel Expense | [6 empty] | 0
Contingency |  |  |  | 469.8931 |  |  | 469.8931
Total | [6 empty] | 9867.7545