## Datasheet
DSS2020
Instrument Datasheet |  |  |  | DIFFERENTIAL PRESSURE TRANSMITTER
1 | Tag No.
2 | Service
3 | P&ID No: | Line or Equipment
4 | Area Classification
5 | Ingress Protection
6 | PROCESS CONDITIONS
7 | Fluid Name | Fluid State | [6 empty] | Process Design Conditions
8 | Diff Pressure | Normal | Max | [5 empty] | Design Pressure |  |  | Min/Max
9 | Temperature: | Normal | Max | [5 empty] | Design Temperature |  |  | Min/Max
10 | TRANSMITTER
11 | Instrument Range | LRV / URV / Units | [6 empty] | Output Signal Type
12 | Calibration Range | LRV / URV / Units | [6 empty] | Protocol/Version
13 | Accuracy | Sq. Root Extract | [6 empty] | Burnout
14 | Elevation | Suppression | [6 empty] | Installation Style
15 | LP Proc. Conn. | HP Proc. Conn. | [6 empty] | Mounting
16 | Conduit Connection | Power Supply | [6 empty] | Other
17 | Housing | Paint | [6 empty] | Tag Plate
18
19 | ELEMENT/ BODY
20 | Element Type | Element Material | [6 empty] | Temperature Limits |  |  | Min/Max
21 | Measurement (Flow / DP etc) | [7 empty] | Pressure Limits |  |  | Min/Max
22 | Body Material
23 | Bolts | Seals
24 | Other wetted materials
25 | Fill Fluid
26 | NACE Certification
27 | DIAPHRAGM SEAL
28 | Seal Type LP | Seal Type HP
29 | LP Proc. Conn. | HP Proc. Conn.
30 | Seal Pressure & Temperature Rating
31 | Diaphragm Material
32 | Housing Material
33 | Fill Fluid
34 | Capillary Material
35 | Capillary Type | Capillary Length
36 | Flushing Connection
37 | OPTIONS
38 | Integral Display | Display Scale | [6 empty] | Manifold
39 | Display Options | [7 empty] | Manifold Type
40 | Testing (Hydrostatic etc) | [7 empty] | Manifold Materials
41 | Cleaning (Oxygen Service etc) | [7 empty] | Manifold Packing
42 | Certification | Testing | Materials | [5 empty] | Process Connection
43 | Corrosive Application | [7 empty] | Bolting
44 | Mounting | [7 empty] | Tag Plate
45 | Other
46
47
48 | MANUFACTURER & MODEL
49 | Item | Tag |  | Manufacturer |  | Model |  | Ex Cert. | Ex Authority |  | Certificate No |  | CertExpiry |  | Local Approval
50 | Transmitter
51 | Manifold
52 | HP Seal
53 | LP Seal
54
NOTES:
Project No: |  |  | Plant: |  |  |  | Contract No: |  | Req: |  |  | Alt Doc No:
|  |  |  | Rev | By | Date | Description |  |  | Chkd | Appd | Datasheet No
[12 empty] | SHEET |  |  | Rev
Of