## Datasheet
DSS2061
Instrument Datasheet |  |  |  | LEVEL TRANSMITTER (DP TYPE)
1 | Tag No.
2 | Service
3 | P&ID No | Equipment
4 | Area Classification | Ingress Protection
5 | PROCESS CONDITIONS
6 | Fluid Upper / State | Fluid Lower / State
7 | Density Upper | Density Lower
8 | Pressure | Normal | Max
9 | Temperature | Normal | Max
10 | Design Press | Design Temp
12 | TRANSMITTER
13 | Instrument Range | LRV / URV / Units | [6 empty] | Output Signal Type
14 | Calibration Range | LRV / URV / Units | [6 empty] | Protocol/Version
15 | Accuracy | [7 empty] | Burnout
16 | Elevation | Suppression | [6 empty] | Installation Style
17 | LP Proc. Conn. | HP Proc. Conn. | [6 empty] | Mounting
18 | Conduit Connection | Power Supply | [6 empty] | Other
19 | Housing | Paint
20
21 | ELEMENT
22 | Element Type | Element Material | [6 empty] | Temperature Limits |  |  | Min | Max
23 | Application (Pressurised / Atmos) | [7 empty] | Pressure Limits |  |  | Min | Max
24 | Body Material | Body Rating
25 | Bolts | Seals
26 | Other wetted materials
27 | Fill Fluid
28
29 | DIAPHRAGM SEAL
30 | Seal Type LP | Seal Type HP
31 | LP Proc. Conn. | HP Proc. Conn.
32 | Seal Pressure & Temperature Rating
33 | Diaphragm Material
34 | Housing Material
35 | Fill Fluid
36 | Capillary Material
37 | Capillary Type | Capillary Length
38 | Flushing Connection
39 | MISCELLANEOUS ITEMS AND OPTIONS
40 | Integral Meter | Meter Scale | [6 empty] | Manifold
41 | Testing (Hydrostatic etc) | [7 empty] | Manifold Type
42 | Cleaning (Oxygen Service etc) | [7 empty] | Manifold Materials
43 | Certification | T&C | Materials | [5 empty] | Manifold Packing
44 | Corrosive Application | [7 empty] | Process Connection
45 | Mounting | [7 empty] | Bolting
46 | Other
47 | NACE Certificate
48 | Tag Plate
49 | MANUFACTURER & MODEL
50 | Item | Tag |  | Manufacturer |  | Model |  | Ex Cert. | Ex Authority |  | Certificate No |  | CertExpiry |  | Local Approval
50 | Transmitter
51 | Manifold
52 | HP Seal
53 | LP Seal
54
NOTES:
Project No: |  |  | Plant: |  |  |  | Contract No: |  | Req: |  |  | Alt Doc No:
|  |  |  | Rev | By | Date | Description |  |  | Chkd | Appd | Datasheet No
[12 empty] | SHEET |  |  | Rev
Of