## Datasheet
DSS2027
Instrument Datasheet |  |  |  |  | LEVEL TRANSMITTER CAPACITANCE
1 | Tag No. | [8 empty] | Hazardous Area Class
2 | Service | [8 empty] | Ingress Protection
3 | P&ID No: | [8 empty] | Design Pressure
4 | Equipment Number | [8 empty] | Design Temp Min/Max
5 | Application
6 | PROCESS CONDITIONS
7 | Upper Fluid |  | State
8 | Upper Fluid Dielectric Constant
9 | Lower Fluid |  | State
10 | Lower Fluid Dielectric Constant
11 | Pressure |  | Normal | Max.
12 | Temperature |  | Normal | Max.
13 | Moisture
14 | Vibration
15 | Material Build Up
16 | Other
17 | PROBE
18 | Orientation |  | Style
19 | Material |  | Sheath
20 | Insertion Length |  | Inactive Length
21 | Gland |  | Size | Matl.
22 | Conduit | Size | Connection
23 | Miscellaneous
24 | Other
25 | AMPLIFIER
26 | Location
27 | Enclosure |  | Power Supply
28 | Conduit | Size | Connection
29 | Miscellaneous
30 | Other
31 | SWITCH
32 | Type
33 | Quantity |  | Form
34 | Rating |  | Load Type
35 | Contacts Open on Level
36 | Miscellaneous
37 | Other
38 | TRANSMITTER
39 | Output
40 | Power Supply
41 | Enclosure
42 | Calibration Range |  | Min | Max.
43 | Miscellaneous
44 | Other
45 | OPTIONS
46 | Compensation Cable
47 | Local Indicator
48 | I/P Transducer
49 | Signal Lights
50 | Other
51 | NACE Certification
52 | MANUFACTURER & MODEL
53 | Item |  | Tag |  | Manufacturer |  | Model |  | Ex Cert. | Ex Authority |  | Certificate No |  | CertExpiry |  | Local Approval
54 | TRANSMITTER
55
56
57
NOTES:
Project No: |  |  |  | Plant: |  |  |  | Contract No: |  | Req: |  |  | Alt Doc No:
[5 empty] | Rev | By | Date | Description |  |  | Chkd | Appd | Datasheet No
[13 empty] | SHEET |  |  | Rev
Of