## Datasheet
DSS2070
Instrument Datasheet |  |  |  | INSTRUMENT CABLE
1 | Tag No. | [5 empty] | Reference Specifications
2 | Application
3 | Description
4
5
6 | ITEM |  |  | DESCRIPTION
7 | Rated Voltage (V)
8 | Conductor Cross Section (mm²)
9 | Number of Cores/Pairs/ Triads
10 | Conductor Material
11 | Pair/Triad Make Up
12 | Insulation Material
13 | Individual Pair/Triad Screen
14 | Filler Material
15 | Overall Screen
16 | Metal Sheath Material
17 | Armour Bedding
18 | Armouring Type
19 | Outer Sheath Material
20 | Colour of Outer Sheath
21 | Design Temperature
22
23
24
25
26 | Cable Parameters
27 | Wire Resistance @ 20°C |  |  | ohms/1000m
28 | L/R ratio at 1000Hz |  |  | µH/ohm
29 | Mutual Capacitance Core - Core |  |  | nF/1000m
30 | Capacitance Core to Screen (both wires) |  |  | nF/1000m
31 | Minimum Bending Radius |  |  | mm
32 | Maximum Allowable Pulling Tension |  |  | kN
33 | Insulation Integrity (Spark) Test Voltage |  |  | Volts
34 | HV Test Voltage |  |  | Volts
35 | Estimated Drum Weight |  |  | Kg
36 | Cable Outside Diameter |  |  | mm
37
38
39
40
41
42 | OTHER TEST AND CERTIFICATION
43 | Basic Cable Tests
44 | Flame Retardancy Tests
45 | Fire Resistance Tests
46
47
48
49
50
51 | MANUFACTURER & MODEL
52 | Item | Manufacturer |  |  |  | Model |  | Item | Manufacturer |  |  |  | Model
53
54
55
NOTES:
Project No: |  |  | Plant: |  |  |  | Contract No: |  | Req: |  |  | Alt Doc No:
|  |  |  | Rev | By | Date | Description |  |  | Chkd | Appd | Datasheet No
[12 empty] | SHEET |  |  | Rev
Of