## Datasheet
DSS2013C
Instrument Datasheet |  |  |  | RTD / THERMOCOUPLE / THERMOWELL
1 | Tag No. | [6 empty] | Area Classification
2 | Service | [6 empty] | Ingress Protection
3 | P&ID No: | [6 empty] | Stress Calculation Status
4 | Line Number | [6 empty] | Frequency Calculation Status
5 | Line Size | [6 empty] | Standard Drawing Reference
6 | Application | [6 empty] | Manufacturer's Drawing Reference
7 | PROCESS CONDITIONS
8 | Fluid | State | [7 empty] | Additional Data for Stress & Frequency Calculations
9 | Temperature | Normal | Max | [6 empty] | Liquid Density |  |  |  | Vap. Density
10 | Pressure | Normal | Max. | [6 empty] | Liquid Flowrate |  |  |  | Vapour Flowrate
11 | Design Pressure | [8 empty] | Liquid Velocity |  |  |  | Vapour Cp/Cv
12 | DesignTemperature | Min | Max | [6 empty] | Liquid Viscosity |  |  |  | Vapour Viscosity
13 | Corrosive Properties | [8 empty] | Vapour MW |  |  |  | Vapour Velocity
14 | Slugging Considerations | [8 empty] | Compressibility |  |  |  | Velocity Limit
15 | WELL / PROTECTIVE TUBE / MOUNTING PAD
16 | Process Connection | [8 empty] | Skin Type Mounting Details
17 | Construction Type | [8 empty] | Element Tip Mounting Pad ID
18 | Material | Well | Flange | [6 empty] | Element Guide Pad ID
19 | Lining | [8 empty] | Mounting & Guide Pad Material
20 | Sensor Connection | Bore Diameter | [7 empty] | Pipe / Equip Wall Thickness
21 | Outside Diameter | Min. | Max.
22 | Tapered Length | Overall Length
23 | Length Below Thread / Flange
24 | Lagging Extension | Tip Thickness
25 | Other
26 | NACE Certification
27 | HEAD
28 | Screwed Cap & Chain
29 | Material
30 | Conduit Connection
31 | Terminal Block
32 | Head Style
33 | Nipple/Union
34 | Other
35 | ELEMENT
36 | Pt/Ni/Other | Element Style
37 | Ice Point Resistance
38 | Leads (Std/Potted/Herm Sealed)
39 | Element Insulation Material
40 | Sheath Material | Sheath OD
41 | Connection (2, 3 or 4 wire)
42 | Lead Wires/Receptacle/Bayonet Lock
43 | Mounting thread
44 | Element Insertion Length
45 | Additional Fittings
46 | Other
47
48 | Transmitter
49 | Headmount Transmitter Type
50 | Transmitter Output Signal
51 | Calibration Range (LRV/URV/Units)
52 | MANUFACTURER & MODEL
53 | Item | Tag |  | Manufacturer |  | Model |  |  | Ex Cert. | Ex Authority |  | Certificate No |  | CertExpiry |  | Local Approval
54 | Head
55 | Transmitter
56
57
NOTES:
Project No: |  |  | Plant: |  |  |  | Contract No: |  |  | Req: |  |  | Alt Doc No:
|  |  |  | Rev | By | Date | Description |  |  |  | Chkd | Appd | Datasheet No
[13 empty] | SHEET |  |  | Rev
Of